Processing form for backup power supply

Eprona a.s.					                      request no.  …………….

Rokytnice nad Jizerou

Customer  :

Tel : …………………………………..		Fax : …………………………………….

___________________________________________________________________

Mains supply voltage :

Nominal output voltage :

Tolerance of output voltage :

Request for counterpart (diode) :

Type of batteries (GEL, ordinary) :

Requested working life of battery :

Preferred brand of batteries :

Location of batteries – space :

Amount of  backup current/time :

Amount of parallel consumption when charging :

Requested rectifier :

Protection of outputs :

- number and size of breakers :

- double-pole breakers (mains IT) :

Remote/local signalling :

- undervoltage :

- overvoltage :

- battery is not being charged :

- limit  (UMIN <U< U MAX ) :

- charge reserve (U<1.8V/cell) :

- ground fault :

- power supply failure (ERROR):

Protection against deep discharging :

Blocking  of battery disconnection :

Requested measuring devices:

Size of switchboard cabinet :

Power supply built in switchboard cabinet :

Wiring on the front panel :

Worked out by :  ……………………………………….  Date :  ………………………..

## Send by fax :    EPRONA a.s.   -   +420 481 549 172       E-mail : ulver@eprona.cz

Further questions :   	Ing. Ulver -  +420 481 549 175,  …111 central,

mobile  +420 602 239 833